## Sheet1
Solar PV Payback Calculation
| Average Cost per kW Installed (£) | 900 |  | Enter your own figures in ORANGE boxes
| Estimated Installed Cost (£) | 4500 |  | PAYBACK reached in year where cells turn GREEN in Accumulative Total
Notes:
| Size of the Array (kWp) | 5 |  | > Calculations ignore the time value of money
| Load Factor | 1 |  | > Assumes inverter lasts 20 years
| Solar Radiation Factor | 1000
| Overshading Factor | 1 |  |  |  | 103%
| Estimated Output (kWh/annum) | 5000 |  |  |  | Assumed Annual Rate of Inflation |  | % of Energy Used on Site | Annual Increase in Energy Cost |  | kWh pasaugojimo kaina | Pasaugoto kWh kaina % |  | Saugojimas apmokamas pinigais
[6 empty] | 3% |  | 70% | 2% |  | 3.9 | 36%
Year | Estimated Output Taking Degradation at 1% loss/year into Account (kWh/annum) | Efficiency of Cells | Up to 4kW FIT (ct/kWh) | 10+ kW FIT (ct/kWh) | inflation compound factor | FIT including inflation (ct/wKh) | Total Generation annual income (EUR) | Energy Used on Site (kWh) | Energy Cost (ct) | Savings from ALL Energy Used (EUR) | Pasaugotos energijos kaina (EUR) | Pasaugotos energijos kaina kWh |  | Total Income & Saving per year (EUR) | Accumulative Total (EUR) | Year |  | Accumulative Total (EUR) | Year
1 | 5000 | 100% | 14.9 | 12.57 | 1.03 | 12.57 | 628.5 | 3500 | 11 | 550 | 58.5 | 540 | 9.2308 | 491.5 | 491.5 | 1 | 550 | 550 | 1
2 | 5000 | 100% | 14.9 | 12.57 | 1.0609 | 13.3355 | 666.7756 | 3500 | 11.22 | 561 | 58.5 | 540 | 9.2308 | 502.5 | 994 | 2 | 561 | 1111 | 2
3 | 5000 | 100% | 14.9 | 12.57 | 1.0927 | 13.7356 | 686.7789 | 3500 | 11.4444 | 572.22 | 58.5 | 540 | 9.2308 | 513.72 | 1507.72 | 3 | 572.22 | 1683.22 | 3
4 | 4950 | 99% | 14.9 | 12.57 | 1.1255 | 14.1476 | 700.3085 | 3500 | 11.6733 | 577.8278 | 56.55 | 522 | 9.2308 | 521.2778 | 2028.9978 | 4 | 577.8278 | 2261.0478 | 4
5 | 4900.5 | 98.01% | 14.9 | 12.57 | 1.1593 | 14.5721 | 714.1045 | 3500 | 11.9068 | 583.4905 | 54.6195 | 504.18 | 9.2308 | 528.871 | 2557.8687 | 5 | 583.4905 | 2844.5382 | 5
6 | 4851.495 | 97.03% | 14.9 | 12.57 | 1.1941 | 15.0092 | 728.1724 | 3500 | 12.1449 | 589.2087 | 52.7083 | 486.5382 | 9.2308 | 536.5004 | 3094.3691 | 6 | 589.2087 | 3433.7469 | 6
7 | 4802.9801 | 96.06% | 14.9 | 12.57 | 1.2299 | 15.4595 | 742.5174 | 3500 | 12.3878 | 594.9829 | 50.8162 | 469.0728 | 9.2308 | 544.1667 | 3638.5358 | 7 | 594.9829 | 4028.7298 | 7
8 | 4754.9502 | 95.1% | 14.9 | 12.57 | 1.2668 | 15.9233 | 757.145 | 3500 | 12.6355 | 600.8138 | 48.9431 | 451.7821 | 9.2308 | 551.8707 | 4190.4065 | 8 | 600.8138 | 4629.5436 | 8
9 | 4707.4007 | 94.15% | 14.9 | 12.57 | 1.3048 | 16.401 | 772.0607 | 3500 | 12.8883 | 606.7017 | 47.0886 | 434.6643 | 9.2308 | 559.6131 | 4750.0196 | 9 | 606.7017 | 5236.2453 | 9
10 | 4660.3267 | 93.21% | 14.9 | 12.57 | 1.3439 | 16.893 | 787.2703 | 3500 | 13.146 | 612.6474 | 45.2527 | 417.7176 | 9.2308 | 567.3947 | 5317.4142 | 10 | 612.6474 | 5848.8927 | 10
11 | 4613.7235 | 92.27% | 14.9 | 12.57 | 1.3842 | 17.3998 | 802.7796 | 3500 | 13.4089 | 618.6513 | 43.4352 | 400.9404 | 9.2308 | 575.2161 | 5892.6304 | 11 | 618.6513 | 6467.544 | 11
12 | 4567.5862 | 91.35% | 14.9 | 12.57 | 1.4258 | 17.9218 | 818.5943 | 3500 | 13.6771 | 624.7141 | 41.6359 | 384.331 | 9.2308 | 583.0783 | 6475.7086 | 12 | 624.7141 | 7092.2582 | 12
13 | 4521.9104 | 90.44% | 14.9 | 12.57 | 1.4685 | 18.4595 | 834.7206 | 3500 | 13.9507 | 630.8363 | 39.8545 | 367.8877 | 9.2308 | 590.9818 | 7066.6905 | 13 | 630.8363 | 7723.0945 | 13
14 | 4476.6913 | 89.53% | 14.9 | 12.57 | 1.5126 | 19.0133 | 851.1646 | 3500 | 14.2297 | 637.0185 | 38.091 | 351.6089 | 9.2308 | 598.9276 | 7665.618 | 14 | 637.0185 | 8360.113 | 14
15 | 4431.9244 | 88.64% | 14.9 | 12.57 | 1.558 | 19.5837 | 867.9326 | 3500 | 14.5143 | 643.2613 | 36.345 | 335.4928 | 9.2308 | 606.9163 | 8272.5343 | 15 | 643.2613 | 9003.3743 | 15
16 | 4387.6051 | 87.75% | 14.9 | 12.57 | 1.6047 | 20.1712 | 885.0308 | 3500 | 14.8046 | 649.5653 | 34.6166 | 319.5378 | 9.2308 | 614.9487 | 8887.483 | 16 | 649.5653 | 9652.9396 | 16
17 | 4343.7291 | 86.87% | 14.9 | 12.57 | 1.6528 | 20.7763 | 902.466 | 3500 | 15.1006 | 655.931 | 32.9054 | 303.7425 | 9.2308 | 623.0256 | 9510.5085 | 17 | 655.931 | 10308.8706 | 17
18 | 4300.2918 | 86.01% | 14.9 | 12.57 | 1.7024 | 21.3996 | 920.2445 | 3500 | 15.4027 | 662.3591 | 31.2114 | 288.105 | 9.2308 | 631.1478 | 10141.6563 | 18 | 662.3591 | 10971.2298 | 18
19 | 4257.2889 | 85.15% | 14.9 | 12.57 | 1.7535 | 22.0416 | 938.3733 | 3500 | 15.7107 | 668.8503 | 29.5343 | 272.624 | 9.2308 | 639.316 | 10780.9723 | 19 | 668.8503 | 11640.08 | 19
20 | 4214.716 | 84.29% | 14.9 | 12.57 | 1.8061 | 22.7028 | 956.8593 | 3500 | 16.0249 | 675.405 | 27.8739 | 257.2977 | 9.2308 | 647.5311 | 11428.5033 | 20 | 675.405 | 12315.485 | 20
21 | 4172.5688 | 83.45% |  |  |  |  | 0 | 3500 | 16.3454 | 682.024 | 26.2302 | 242.1248 | 9.2308 | 655.7938 | 12084.2971 | 21 | 682.024 | 12997.5089 | 21
22 | 4130.8431 | 82.62% |  |  |  |  | 0 | 3500 | 16.6723 | 688.7078 | 24.6029 | 227.1035 | 9.2308 | 664.1049 | 12748.402 | 22 | 688.7078 | 13686.2167 | 22
23 | 4089.5347 | 81.79% |  |  |  |  | 0 | 3500 | 17.0058 | 695.4571 | 22.9919 | 212.2325 | 9.2308 | 672.4653 | 13420.8673 | 23 | 695.4571 | 14381.6739 | 23
24 | 4048.6393 | 80.97% |  |  |  |  | 0 | 3500 | 17.3459 | 702.2726 | 21.3969 | 197.5102 | 9.2308 | 680.8757 | 14101.743 | 24 | 702.2726 | 15083.9465 | 24
25 | 4008.1529 | 80.16% |  |  |  |  | 0 | 3500 | 17.6928 | 709.1549 | 19.818 | 182.9351 | 9.2308 | 689.3369 | 14791.0799 | 25 | 709.1549 | 15793.1013 | 25
26 | 3968.0714 | 79.36% |  |  |  |  | 0 | 3500 | 18.0467 | 716.1046 | 18.2548 | 168.5057 | 9.2308 | 697.8498 | 15488.9297 | 26 | 716.1046 | 16509.2059 | 26
27 | 3928.3907 | 78.57% |  |  |  |  | 0 | 3500 | 18.4076 | 723.1224 | 16.7072 | 154.2207 | 9.2308 | 706.4152 | 16195.3449 | 27 | 723.1224 | 17232.3283 | 27
28 | 3889.1068 | 77.78% |  |  |  |  | 0 | 3500 | 18.7758 | 730.209 | 15.1752 | 140.0784 | 9.2308 | 715.0339 | 16910.3787 | 28 | 730.209 | 17962.5374 | 28
29 | 3850.2157 | 77% |  |  |  |  | 0 | 3500 | 19.1513 | 737.3651 | 13.6584 | 126.0777 | 9.2308 | 723.7067 | 17634.0854 | 29 | 737.3651 | 18699.9024 | 29
30 | 3811.7136 | 76.23% |  |  |  |  | 0 | 3500 | 19.5343 | 744.5912 | 12.1568 | 112.2169 | 9.2308 | 732.4344 | 18366.5198 | 30 | 744.5912 | 19444.4937 | 30

## Sheet1 (3)
Solar PV Payback Calculation
| Average Cost per kW Installed (£) | 925 |  | Enter your own figures in ORANGE boxes
| Estimated Installed Cost (£) | 4625 |  | PAYBACK reached in year where cells turn GREEN in Accumulative Total
Notes:
| Size of the Array (kWp) | 5 |  | > Calculations ignore the time value of money
| Load Factor | 1 |  | > Assumes inverter lasts 20 years
| Solar Radiation Factor | 1000
| Overshading Factor | 1 |  |  |  | 103%
| Estimated Output (kWh/annum) | 5000 |  |  |  | Assumed Annual Rate of Inflation | Metinis palaikymo kastu augimas | % of Energy Used on Site | Annual Increase in Energy Cost |  | kWh pasaugojimo kaina | Pasaugoto kWh kaina % |  | Saugojimas apmokamas pinigais
[6 empty] | 3% | 5% | 70% | 2.3% |  | 3.9 | 36%
Year | Estimated Output Taking Degradation at 1% loss/year into Account (kWh/annum) | Efficiency of Cells | Up to 4kW FIT (ct/kWh) | 10+ kW FIT (ct/kWh) | inflation compound factor | FIT including inflation (ct/wKh) | Paslaugos | Energy Used on Site (kWh) | Energy Cost (ct) | Savings from ALL Energy Used (EUR) | Pasaugotos energijos kaina (EUR) | Pasaugotos energijos kaina kWh |  | Total Income & Saving per year (EUR) | Accumulative Total (EUR) | Year |  | Accumulative Total (EUR) | Year | Total Income & Saving per year (EUR) | Accumulative Total (EUR) | Year
1 | 5000 | 100% | 14.9 | 12.57 | 1.03 | 25.99 | 115 | 3500 | 11 | 550 | 58.5 | 540 | 9.2308 | 491.5 | 491.5 | 1 | 550 | 550 | 1 | 409.01 | 409.01 | 1
2 | 5000 | 100% | 14.9 | 12.57 | 1.0609 | 25.99 | 120.75 | 3500 | 11.253 | 562.65 | 58.5 | 540 | 9.2308 | 504.15 | 995.65 | 2 | 562.65 | 1112.65 | 2 | 415.91 | 824.92 | 2
3 | 5000 | 100% | 14.9 | 12.57 | 1.0927 | 25.99 | 126.7875 | 3500 | 11.5118 | 575.591 | 58.5 | 540 | 9.2308 | 517.091 | 1512.7409 | 3 | 575.591 | 1688.241 | 3 | 422.8134 | 1247.7334 | 3
4 | 4950 | 99% | 14.9 | 12.57 | 1.1255 | 25.99 | 133.1269 | 3500 | 11.7766 | 582.9412 | 56.55 | 522 | 9.2308 | 526.3912 | 2039.1322 | 4 | 582.9412 | 2271.1822 | 4 | 423.8244 | 1671.5578 | 4
5 | 4900.5 | 98.01% | 14.9 | 12.57 | 1.1593 | 25.99 | 139.7832 | 3500 | 12.0475 | 590.3854 | 54.6195 | 504.18 | 9.2308 | 535.7659 | 2574.8981 | 5 | 590.3854 | 2861.5676 | 5 | 424.6122 | 2096.17 | 5
6 | 4851.495 | 97.03% | 14.9 | 12.57 | 1.1941 | 25.99 | 146.7724 | 3500 | 12.3245 | 597.9246 | 52.7083 | 486.5382 | 9.2308 | 545.2163 | 3120.1144 | 6 | 597.9246 | 3459.4922 | 6 | 425.1622 | 2521.3323 | 6
7 | 4802.9801 | 96.06% | 14.9 | 12.57 | 1.2299 | 25.99 | 154.111 | 3500 | 12.608 | 605.5601 | 50.8162 | 469.0728 | 9.2308 | 554.7439 | 3674.8583 | 7 | 605.5601 | 4065.0524 | 7 | 425.4591 | 2946.7914 | 7
8 | 4754.9502 | 95.1% | 14.9 | 12.57 | 1.2668 | 25.99 | 161.8165 | 3500 | 12.898 | 613.2931 | 48.9431 | 451.7821 | 9.2308 | 564.3501 | 4239.2084 | 8 | 613.2931 | 4678.3455 | 8 | 425.4866 | 3372.278 | 8
9 | 4707.4007 | 94.15% | 14.9 | 12.57 | 1.3048 | 25.99 | 169.9074 | 3500 | 13.1946 | 621.1249 | 47.0886 | 434.6643 | 9.2308 | 574.0363 | 4813.2446 | 9 | 621.1249 | 5299.4704 | 9 | 425.2275 | 3797.5055 | 9
10 | 4660.3267 | 93.21% | 14.9 | 12.57 | 1.3439 | 25.99 | 178.4027 | 3500 | 13.4981 | 629.0566 | 45.2527 | 417.7176 | 9.2308 | 583.8039 | 5397.0486 | 10 | 629.0566 | 5928.527 | 10 | 424.6639 | 4222.1694 | 10
11 | 4613.7235 | 92.27% | 14.9 | 12.57 | 1.3842 | 25.99 | 187.3229 | 3500 | 13.8086 | 637.0897 | 43.4352 | 400.9404 | 9.2308 | 593.6545 | 5990.703 | 11 | 637.0897 | 6565.6167 | 11 | 423.7768 | 4645.9462 | 11
12 | 4567.5862 | 91.35% | 14.9 | 12.57 | 1.4258 | 25.99 | 196.689 | 3500 | 14.1262 | 645.2253 | 41.6359 | 384.331 | 9.2308 | 603.5895 | 6594.2925 | 12 | 645.2253 | 7210.842 | 12 | 422.5463 | 5068.4925 | 12
13 | 4521.9104 | 90.44% | 14.9 | 12.57 | 1.4685 | 25.99 | 206.5235 | 3500 | 14.4511 | 653.4649 | 39.8545 | 367.8877 | 9.2308 | 613.6104 | 7207.9029 | 13 | 653.4649 | 7864.3069 | 13 | 420.9514 | 5489.4439 | 13
14 | 4476.6913 | 89.53% | 14.9 | 12.57 | 1.5126 | 25.99 | 216.8497 | 3500 | 14.7835 | 661.8096 | 38.091 | 351.6089 | 9.2308 | 623.7186 | 7831.6215 | 14 | 661.8096 | 8526.1165 | 14 | 418.97 | 5908.4138 | 14
15 | 4431.9244 | 88.64% | 14.9 | 12.57 | 1.558 | 25.99 | 227.6921 | 3500 | 15.1235 | 670.2609 | 36.345 | 335.4928 | 9.2308 | 633.9159 | 8465.5374 | 15 | 670.2609 | 9196.3774 | 15 | 416.5788 | 6324.9926 | 15
16 | 4387.6051 | 87.75% | 14.9 | 12.57 | 1.6047 | 25.99 | 239.0767 | 3500 | 15.4713 | 678.8201 | 34.6166 | 319.5378 | 9.2308 | 644.2035 | 9109.7409 | 16 | 678.8201 | 9875.1976 | 16 | 413.7534 | 6738.746 | 16
17 | 4343.7291 | 86.87% | 14.9 | 12.57 | 1.6528 | 25.99 | 251.0306 | 3500 | 15.8272 | 687.4887 | 32.9054 | 303.7425 | 9.2308 | 654.5832 | 9764.3242 | 17 | 687.4887 | 10562.6863 | 17 | 410.4681 | 7149.2141 | 17
18 | 4300.2918 | 86.01% | 14.9 | 12.57 | 1.7024 | 25.99 | 263.5821 | 3500 | 16.1912 | 696.2679 | 31.2114 | 288.105 | 9.2308 | 665.0565 | 10429.3807 | 18 | 696.2679 | 11258.9542 | 18 | 406.6958 | 7555.9099 | 18
19 | 4257.2889 | 85.15% | 14.9 | 12.57 | 1.7535 | 25.99 | 276.7612 | 3500 | 16.5636 | 705.1593 | 29.5343 | 272.624 | 9.2308 | 675.625 | 11105.0057 | 19 | 705.1593 | 11964.1134 | 19 | 402.408 | 7958.318 | 19
20 | 4214.716 | 84.29% | 14.9 | 12.57 | 1.8061 | 25.99 | 290.5993 | 3500 | 16.9445 | 714.1641 | 27.8739 | 257.2977 | 9.2308 | 686.2902 | 11791.2959 | 20 | 714.1641 | 12678.2776 | 20 | 397.5749 | 8355.8928 | 20
21 | 4172.5688 | 83.45% |  |  |  | 25.99 | 305.1292 | 3500 | 17.3343 | 723.284 | 26.2302 | 242.1248 | 9.2308 | 697.0538 | 12488.3498 | 21 | 723.284 | 13401.5616 | 21 | 392.1648 | 8748.0576 | 21
22 | 4130.8431 | 82.62% |  |  |  | 25.99 | 320.3857 | 3500 | 17.733 | 732.5204 | 24.6029 | 227.1035 | 9.2308 | 707.9175 | 13196.2672 | 22 | 732.5204 | 14134.0819 | 22 | 386.1447 | 9134.2023 | 22
23 | 4089.5347 | 81.79% |  |  |  | 25.99 | 336.405 | 3500 | 18.1408 | 741.8746 | 22.9919 | 212.2325 | 9.2308 | 718.8828 | 13915.15 | 23 | 741.8746 | 14875.9566 | 23 | 379.4797 | 9513.6819 | 23
24 | 4048.6393 | 80.97% |  |  |  | 25.99 | 353.2252 | 3500 | 18.558 | 751.3484 | 21.3969 | 197.5102 | 9.2308 | 729.9514 | 14645.1014 | 24 | 751.3484 | 15627.3049 | 24 | 372.1331 | 9885.8151 | 24
25 | 4008.1529 | 80.16% |  |  |  | 25.99 | 370.8865 | 3500 | 18.9849 | 760.9431 | 19.818 | 182.9351 | 9.2308 | 741.1251 | 15386.2266 | 25 | 760.9431 | 16388.248 | 25 | 364.0666 | 10249.8817 | 25
26 | 3968.0714 | 79.36% |  |  |  | 25.99 | 389.4308 | 3500 | 19.4215 | 770.6603 | 18.2548 | 168.5057 | 9.2308 | 752.4056 | 16138.6321 | 26 | 770.6603 | 17158.9084 | 26 | 355.2395 | 10605.1212 | 26
27 | 3928.3907 | 78.57% |  |  |  | 25.99 | 408.9024 | 3500 | 19.8682 | 780.5017 | 16.7072 | 154.2207 | 9.2308 | 763.7944 | 16902.4266 | 27 | 780.5017 | 17939.41 | 27 | 345.6093 | 10950.7305 | 27
28 | 3889.1068 | 77.78% |  |  |  | 25.99 | 429.3475 | 3500 | 20.3252 | 790.4687 | 15.1752 | 140.0784 | 9.2308 | 775.2935 | 17677.7201 | 28 | 790.4687 | 18729.8787 | 28 | 335.1312 | 11285.8617 | 28
29 | 3850.2157 | 77% |  |  |  | 25.99 | 450.8149 | 3500 | 20.7927 | 800.563 | 13.6584 | 126.0777 | 9.2308 | 786.9045 | 18464.6246 | 29 | 800.563 | 19530.4417 | 29 | 323.7581 | 11609.6198 | 29
30 | 3811.7136 | 76.23% |  |  |  | 25.99 | 473.3556 | 3500 | 21.2709 | 810.7861 | 12.1568 | 112.2169 | 9.2308 | 798.6293 | 19263.2539 | 30 | 810.7861 | 20341.2278 | 30 | 311.4406 | 11921.0604 | 30

## Sheet3
dujos mokejimai
23.94 | 264.63 | 124.95
5.94 | 20.79 | 100.59
5.94 | 14.91 | 37.17
11.88 | 21.21 | 19.95
2.04 | 84.21 | 8.19
14.01 | 69.51 | 24.99
10.02 | 108.57 | 30.87
6.03 | 227.85 | 52.92
766 |  | 3.99
145.17 |  | 196.98
3.99
404.46
3.99
294
3.99

## LT skaiciuokle (2)
Mažosios saulės jėgainės modelis (Gaminantis vartotojas)
Silumos siurblys |  | 6700
Solar PV station full cost |  | 10320 | 7100
Compensation |  | 3220 |  | Enter your own figures in ORANGE boxes
| Estimated Installed Cost (EUR) | 13800 |  | PAYBACK reached in year where cells turn GREEN in Accumulative Total
Notes:
| Size of the Array (kWp) | 10 |  | > Calculations ignore the time value of money
| Load Factor | 1 |  | > Assumes inverter lasts 20 years
| Solar Radiation Factor | 990
| Overshading Factor | 1 |  |  |  | 103% | [9 empty] | 3333 | 699.93 | 4032.93
| Estimated Output (kWh/annum) | 9900 |  |  |  | Assumed Annual Rate of Inflation |  | % of Energy Used on Site | Annual Increase in Energy Cost |  | kWh pasaugojimo kaina | Pasaugoto kWh kaina % | Saugojimas apmokamas pinigais
[6 empty] | 3% |  | 70% | 2% |  | 3.9 | 36%
Year | Estimated Output Taking Degradation at 1% loss/year into Account (kWh/annum) | Efficiency of Cells | Up to 4kW FIT (ct/kWh) | 10+ kW FIT (ct/kWh) | inflation compound factor | FIT including inflation (ct/wKh) | Total Generation annual income (EUR) | Energy Used on Site (kWh) | Energy Cost (ct) | Savings from ALL Energy Used (EUR) | Pasaugotos energijos kaina (EUR) | Pasaugotos energijos kaina kWh | Total Income & Saving per year (EUR) | Accumulative Total (EUR) | Year |  |  | Accumulative Total (EUR) | Year
1 | 9900 | 100% | 14.9 | 12.57 | 1.03 | 12.57 | 1244.43 | 6930 | 13 | 1148.004 | 115.83 | 1069.2 | 1148.004 | 1148.004 | 1 |  | 1534.17 | 1534.17 | 1
2 | 9900 | 100% | 14.9 | 12.57 | 1.0609 | 13.3355 | 1320.2158 | 6930 | 13.26 | 1170.9641 | 115.83 | 1069.2 | 1170.9641 | 2318.9681 | 2 |  | 1564.8534 | 3099.0234 | 2
3 | 9900 | 100% | 14.9 | 12.57 | 1.0927 | 13.7356 | 1359.8223 | 6930 | 13.5252 | 1194.3834 | 115.83 | 1069.2 | 1194.3834 | 3513.3514 | 3 |  | 1596.1505 | 4695.1739 | 3
4 | 9801 | 99% | 14.9 | 12.57 | 1.1255 | 14.1476 | 1386.6108 | 6930 | 13.7957 | 1209.5301 | 111.969 | 1033.56 | 1209.5301 | 4722.8815 | 4 |  | 1628.0735 | 6323.2473 | 4
5 | 9702.99 | 98.01% | 14.9 | 12.57 | 1.1593 | 14.5721 | 1413.927 | 6930 | 14.0716 | 1224.8941 | 108.1466 | 998.2764 | 1224.8941 | 5947.7756 | 5 |  | 1660.6349 | 7983.8823 | 5
6 | 9605.9601 | 97.03% | 14.9 | 12.57 | 1.1941 | 15.0092 | 1441.7814 | 6930 | 14.3531 | 1240.4788 | 104.3624 | 963.3456 | 1240.4788 | 7188.2544 | 6 |  | 1693.8476 | 9677.7299 | 6
7 | 9509.9005 | 96.06% | 14.9 | 12.57 | 1.2299 | 15.4595 | 1470.1844 | 6930 | 14.6401 | 1256.2879 | 100.6161 | 928.7642 | 1256.2879 | 8444.5423 | 7 |  | 1727.7246 | 11405.4545 | 7
8 | 9414.8015 | 95.1% | 14.9 | 12.57 | 1.2668 | 15.9233 | 1499.1471 | 6930 | 14.9329 | 1272.325 | 96.9073 | 894.5285 | 1272.325 | 9716.8673 | 8 |  | 1762.2791 | 13167.7336 | 8
9 | 9320.6535 | 94.15% | 14.9 | 12.57 | 1.3048 | 16.401 | 1528.6803 | 6930 | 15.2316 | 1288.5938 | 93.2355 | 860.6353 | 1288.5938 | 11005.4611 | 9 |  | 1797.5247 | 14965.2583 | 9
10 | 9227.4469 | 93.21% | 14.9 | 12.57 | 1.3439 | 16.893 | 1558.7953 | 6930 | 15.5362 | 1305.098 | 89.6004 | 827.0809 | 1305.098 | 12310.559 | 10 |  | 1833.4752 | 16798.7335 | 10
11 | 9135.1725 | 92.27% | 14.9 | 12.57 | 1.3842 | 17.3998 | 1589.5035 | 6930 | 15.8469 | 1321.8414 | 86.0017 | 793.8621 | 1321.8414 | 13632.4004 | 11 |  | 1870.1447 | 18668.8781 | 11
12 | 9043.8208 | 91.35% | 14.9 | 12.57 | 1.4258 | 17.9218 | 1620.8168 | 6930 | 16.1639 | 1338.828 | 82.439 | 760.9755 | 1338.828 | 14971.2284 | 12 |  | 1907.5476 | 20576.4257 | 12
13 | 8953.3825 | 90.44% | 14.9 | 12.57 | 1.4685 | 18.4595 | 1652.7469 | 6930 | 16.4871 | 1356.0617 | 78.9119 | 728.4177 | 1356.0617 | 16327.2902 | 13 |  | 1945.6985 | 22522.1242 | 13
14 | 8863.8487 | 89.53% | 14.9 | 12.57 | 1.5126 | 19.0133 | 1685.306 | 6930 | 16.8169 | 1373.5466 | 75.4201 | 696.1855 | 1373.5466 | 17700.8368 | 14 |  | 1984.6125 | 24506.7367 | 14
15 | 8775.2102 | 88.64% | 14.9 | 12.57 | 1.558 | 19.5837 | 1718.5065 | 6930 | 17.1532 | 1391.2868 | 71.9632 | 664.2757 | 1391.2868 | 19092.1236 | 15 |  | 2024.3047 | 26531.0414 | 15
16 | 8687.4581 | 87.75% | 14.9 | 12.57 | 1.6047 | 20.1712 | 1752.3611 | 6930 | 17.4963 | 1409.2863 | 68.5409 | 632.6849 | 1409.2863 | 20501.4099 | 16 |  | 2064.7908 | 28595.8323 | 16
17 | 8600.5835 | 86.87% | 14.9 | 12.57 | 1.6528 | 20.7763 | 1786.8826 | 6930 | 17.8462 | 1427.5496 | 65.1528 | 601.4101 | 1427.5496 | 21928.9595 | 17 |  | 2106.0866 | 30701.9189 | 17
18 | 8514.5777 | 86.01% | 14.9 | 12.57 | 1.7024 | 21.3996 | 1822.0842 | 6930 | 18.2031 | 1446.0809 | 61.7985 | 570.448 | 1446.0809 | 23375.0405 | 18 |  | 2148.2084 | 32850.1273 | 18
19 | 8429.4319 | 85.15% | 14.9 | 12.57 | 1.7535 | 22.0416 | 1857.9792 | 6930 | 18.5672 | 1464.8847 | 58.4778 | 539.7955 | 1464.8847 | 24839.9252 | 19 |  | 2191.1725 | 35041.2998 | 19
20 | 8345.1376 | 84.29% | 14.9 | 12.57 | 1.8061 | 22.7028 | 1894.5814 | 6930 | 18.9385 | 1483.9653 | 55.1904 | 509.4495 | 1483.9653 | 26323.8905 | 20 |  | 2234.996 | 37276.2958 | 20
21 | 8261.6862 | 83.45% |  |  |  |  | 0 | 6930 | 19.3173 | 1503.3275 | 51.9358 | 479.407 | 1503.3275 | 27827.218 | 21 |  | 2279.6959 | 39555.9917 | 21
22 | 8179.0694 | 82.62% |  |  |  |  | 0 | 6930 | 19.7037 | 1522.9758 | 48.7137 | 449.665 | 1522.9758 | 29350.1937 | 22 |  | 2325.2898 | 41881.2816 | 22
23 | 8097.2787 | 81.79% |  |  |  |  | 0 | 6930 | 20.0977 | 1542.9149 | 45.5239 | 420.2203 | 1542.9149 | 30893.1086 | 23 |  | 2371.7956 | 44253.0772 | 23
24 | 8016.3059 | 80.97% |  |  |  |  | 0 | 6930 | 20.4997 | 1563.1497 | 42.3659 | 391.0701 | 1563.1497 | 32456.2583 | 24 |  | 2419.2315 | 46672.3088 | 24
25 | 7936.1428 | 80.16% |  |  |  |  | 0 | 6930 | 20.9097 | 1583.6851 | 39.2396 | 362.2114 | 1583.6851 | 34039.9435 | 25 |  | 2467.6162 | 49139.9249 | 25
26 | 7856.7814 | 79.36% |  |  |  |  | 0 | 6930 | 21.3279 | 1604.5261 | 36.1445 | 333.6413 | 1604.5261 | 35644.4696 | 26 |  | 2516.9685 | 51656.8934 | 26
27 | 7778.2136 | 78.57% |  |  |  |  | 0 | 6930 | 21.7544 | 1625.6778 | 33.0803 | 305.3569 | 1625.6778 | 37270.1474 | 27 |  | 2567.3079 | 54224.2013 | 27
28 | 7700.4315 | 77.78% |  |  |  |  | 0 | 6930 | 22.1895 | 1647.1453 | 30.0468 | 277.3553 | 1647.1453 | 38917.2927 | 28 |  | 2618.654 | 56842.8553 | 28
29 | 7623.4271 | 77% |  |  |  |  | 0 | 6930 | 22.6333 | 1668.9339 | 27.0437 | 249.6338 | 1668.9339 | 40586.2265 | 29 |  | 2671.0271 | 59513.8824 | 29
30 | 7547.1929 | 76.23% |  |  |  |  | 0 | 6930 | 23.086 | 1691.0489 | 24.0705 | 222.1894 | 1691.0489 | 42277.2754 | 30 |  | 2724.4476 | 62238.3301 | 30

## LT skaiciuokle
Mažosios saulės jėgainės modelis (Gaminantis vartotojas)
Jėgainės KW kaina, EUR |  | 850
Kompensacija, EUR už KW |  | 322 |  | Keiskite skaičius tik geltonose langeliuose
Išlaidos jėgainei be kompensacijos,EUR |  | 8500 |  | Žaliai nurodyti langeliai kai sutaupymai viršija investiciją
Išlaidos jėgainei su kompensacija, EUR |  | 5280 |  | NB:
| Instaliuota galia (kWp) | 10 |  | > Skaičiavimai neatsižvelgia į pinigų kainą
| Apkrovimo faktorius (load factor) | 1 |  | > Per skaičiavimo laikotarpį nenumatyta jokių papildomų išlaidų (tad numatoma, kad inverteris po garantinio laikotarpio nesuges, elementai po garantinio laikotarpio nesuges, etc.)
| Solar Radiation Factor | 990
| Overshading Factor | 1 | [20 empty] | 0 | 0
| Numatoma gamyba (kWh/metai) | 9900 |  |  | Metinis suvartojimo didejimas | % energijos suvartojamas tiesiogiai, nesaugant tinkle |  |  |  | Metinis elektros kainos brangimas |  | BASELINE: kiek būčiau išleidęs elektrai, jei nebūčiau pirkęs jėgainės |  | Teorinis atsipirkimas: kiek sutaupyčiau, jei neturėdamas jėgainės būčiau pirkęs visą savo jėgainės gaminamą elektros kiekį |  | kWh pasaugojimo kaina | Hardcore atsipirkimas: elektros kaina kurią būčiau mokėjęs be elektrinės minus pasaugojimo kaina, minus papildomai pirktos elektros kaina. Pasaugojimas apmokamas centais |  |  | Pasaugoto kWh kaina % |  |  | Hardcore atsipirkimas: elektros kaina kurią būčiau mokėjęs be elektrinės minus pasaugojimo kaina, minus papildomai pirktos elektros kaina. Pasaugojimas apmokamas kilovatvalandėmis
[5 empty] | 3% | 30% |  |  |  | 2% | [5 empty] | 5.1 |  |  |  | 36%
Metai | Teorinė gamyba įvertinant 1% efektyvumo praradimą per metus (kWh/metai) | Elementų efektyvumas | Atsitiktinis produkcijos svyravimo dydis (-20 iki +20%) | Sugeneruotas el. kiekis, kWh | Realus energijos poreikis kWh per metus | Sunaudota energija viduje (kWh) | Į tinklą priduotos energijos kiekis, kWh | Energijos balansas (sugeneruota - suvartota) kWh | Reikalingos energijos dapirkimas, EUR | Vidutinė dabar naudojamos el. kaina (ct) | Vienos fazės energijos kaina(ct) | Išlaidos be saulės jėgainės, EUR | Akumuliutos el. išlaidos be jėgainės | Sutaupymas teorinis (pagaminimas padauginas iš vieno tarifo kainos) | Akumuliuotas teorinis sutaupymas, (EUR) | Pasaugotos energijos kaina (EUR) | Sutaupymas per metus (EUR) | Akumuliuoti sutaupymai (EUR) | Metai | Pasaugotos energijos kaina kWh | Balansas, kWh | Trūkstamas energijos dapirkimas, EUR | Sutaupymas per metus (EUR) | Akumuliuoti sutaupymai (EUR) | Metai
1 | 9900 | 100% | 19% | 11781 | 3650 | 3534.3 | 115.7 | 8131 | 0 | 13 | 15 | 474.5 | 474.5 | 1485 | 1485 | 5.9007 | 468.5993 | 468.5993 | 1 | 41.652 | 8089.348 | 0 | 474.5 | 474.5 | 1
2 | 9900 | 100% | 7% | 10593 | 3759.5 | 3177.9 | 581.6 | 6833.5 | 0 | 13.26 | 15.3 | 498.5097 | 973.0097 | 1514.7 | 2999.7 | 29.6616 | 468.8481 | 937.4474 | 2 | 209.376 | 6624.124 | 0 | 498.5097 | 973.0097 | 2
3 | 9900 | 100% | 15% | 11385 | 3872.285 | 3415.5 | 456.785 | 7512.715 | 0 | 13.5252 | 15.606 | 523.7343 | 1496.744 | 1544.994 | 4544.694 | 23.296 | 500.4383 | 1437.8857 | 3 | 164.4426 | 7348.2724 | 0 | 523.7343 | 1496.744 | 3
4 | 9801 | 99% | 16% | 11369.16 | 3988.4535 | 3410.748 | 577.7055 | 7380.7064 | 0 | 13.7957 | 15.9181 | 550.2352 | 2046.9792 | 1560.1349 | 6104.8289 | 29.463 | 520.7723 | 1958.6579 | 4 | 207.974 | 7172.7325 | 0 | 550.2352 | 2046.9792 | 4
5 | 9702.99 | 98.01% | 5% | 10188.1395 | 4108.1072 | 3056.4418 | 1051.6653 | 6080.0323 | 0 | 14.0716 | 16.2365 | 578.0771 | 2625.0564 | 1575.4243 | 7680.2532 | 53.6349 | 524.4422 | 2483.1001 | 5 | 378.5995 | 5701.4328 | 0 | 578.0771 | 2625.0564 | 5
6 | 9605.9601 | 97.03% | -13% | 8357.1853 | 4231.3504 | 2507.1556 | 1724.1948 | 4125.8349 | 0 | 14.3531 | 16.5612 | 607.3279 | 3232.3842 | 1590.8634 | 9271.1166 | 87.9339 | 519.3939 | 3002.4941 | 6 | 620.7101 | 3505.1248 | 0 | 607.3279 | 3232.3842 | 6
7 | 9509.9005 | 96.06% | -18% | 7798.1184 | 4358.2909 | 2339.4355 | 2018.8554 | 3439.8275 | 0 | 14.6401 | 16.8924 | 638.0586 | 3870.4429 | 1606.4539 | 10877.5705 | 102.9616 | 535.097 | 3537.5911 | 7 | 726.7879 | 2713.0396 | 0 | 638.0586 | 3870.4429 | 7
8 | 9414.8015 | 95.1% | -5% | 8944.0614 | 4489.0396 | 2683.2184 | 1805.8212 | 4455.0218 | 0 | 14.9329 | 17.2303 | 670.3444 | 4540.7873 | 1622.1971 | 12499.7676 | 92.0969 | 578.2475 | 4115.8386 | 8 | 650.0956 | 3804.9262 | 0 | 670.3444 | 4540.7873 | 8
9 | 9320.6535 | 94.15% | -8% | 8575.0012 | 4623.7108 | 2572.5004 | 2051.2104 | 3951.2904 | 0 | 15.2316 | 17.5749 | 704.2638 | 5245.0511 | 1638.0947 | 14137.8623 | 104.6117 | 599.6521 | 4715.4907 | 9 | 738.4358 | 3212.8546 | 0 | 704.2638 | 5245.0511 | 9
10 | 9227.4469 | 93.21% | 6% | 9781.0938 | 4762.4221 | 2934.3281 | 1828.094 | 5018.6716 | 0 | 15.5362 | 17.9264 | 739.8996 | 5984.9507 | 1654.148 | 15792.0103 | 93.2328 | 646.6668 | 5362.1575 | 10 | 658.1138 | 4360.5578 | 0 | 739.8996 | 5984.9507 | 10
11 | 9135.1725 | 92.27% | 16% | 10596.8001 | 4905.2948 | 3179.04 | 1726.2548 | 5691.5053 | 0 | 15.8469 | 18.2849 | 777.3385 | 6762.2892 | 1670.3586 | 17462.3689 | 88.039 | 689.2995 | 6051.457 | 11 | 621.4517 | 5070.0536 | 0 | 777.3385 | 6762.2892 | 11
12 | 9043.8208 | 91.35% | -8% | 8320.3151 | 5052.4536 | 2496.0945 | 2556.3591 | 3267.8615 | 0 | 16.1639 | 18.6506 | 816.6718 | 7578.9611 | 1686.7282 | 19149.0971 | 130.3743 | 686.2975 | 6737.7545 | 12 | 920.2893 | 2347.5722 | 0 | 816.6718 | 7578.9611 | 12
13 | 8953.3825 | 90.44% | 2% | 9132.4502 | 5204.0272 | 2739.7351 | 2464.2922 | 3928.423 | 0 | 16.4871 | 19.0236 | 857.9954 | 8436.9565 | 1703.2581 | 20852.3552 | 125.6789 | 732.3165 | 7470.0711 | 13 | 887.1452 | 3041.2778 | 0 | 857.9954 | 8436.9565 | 13
14 | 8863.8487 | 89.53% | 11% | 9838.8721 | 5360.1481 | 2951.6616 | 2408.4864 | 4478.724 | 0 | 16.8169 | 19.4041 | 901.41 | 9338.3665 | 1719.95 | 22572.3052 | 122.8328 | 778.5772 | 8248.6483 | 14 | 867.0551 | 3611.6689 | 0 | 901.41 | 9338.3665 | 14
15 | 8775.2102 | 88.64% | -15% | 7458.9287 | 5520.9525 | 2237.6786 | 3283.2739 | 1937.9762 | 0 | 17.1532 | 19.7922 | 947.0213 | 10285.3878 | 1736.8055 | 24309.1107 | 167.447 | 779.5744 | 9028.2226 | 15 | 1181.9786 | 755.9976 | 0 | 947.0213 | 10285.3878 | 15
16 | 8687.4581 | 87.75% | -2% | 8513.709 | 5686.5811 | 2554.1127 | 3132.4684 | 2827.1279 | 0 | 17.4963 | 20.188 | 994.9406 | 11280.3285 | 1753.8262 | 26062.937 | 159.7559 | 835.1847 | 9863.4074 | 16 | 1127.6886 | 1699.4393 | 0 | 994.9406 | 11280.3285 | 16
17 | 8600.5835 | 86.87% | 5% | 9030.6127 | 5857.1785 | 2709.1838 | 3147.9947 | 3173.4342 | 0 | 17.8462 | 20.5918 | 1045.2846 | 12325.6131 | 1771.0137 | 27833.9507 | 160.5477 | 884.7369 | 10748.1443 | 17 | 1133.2781 | 2040.1561 | 0 | 1045.2846 | 12325.6131 | 17
18 | 8514.5777 | 86.01% | 17% | 9962.0559 | 6032.8939 | 2988.6168 | 3044.2771 | 3929.1621 | 0 | 18.2031 | 21.0036 | 1098.176 | 13423.7891 | 1788.3697 | 29622.3203 | 155.2581 | 942.9179 | 11691.0621 | 18 | 1095.9397 | 2833.2223 | 0 | 1098.176 | 13423.7891 | 18
19 | 8429.4319 | 85.15% | -18% | 6912.1342 | 6213.8807 | 2073.6403 | 4140.2404 | 698.2535 | 0 | 18.5672 | 21.4237 | 1153.7437 | 14577.5328 | 1805.8957 | 31428.216 | 211.1523 | 942.5915 | 12633.6536 | 19 | 1490.4866 | -792.233 | -169.7256 | 984.0181 | 14407.8072 | 19
20 | 8345.1376 | 84.29% | -18% | 6843.0128 | 6400.2971 | 2052.9039 | 4347.3932 | 442.7158 | 0 | 18.9385 | 21.8522 | 1212.1232 | 15789.656 | 1823.5935 | 33251.8095 | 221.7171 | 990.4061 | 13624.0597 | 20 | 1565.0616 | -1122.3458 | -245.2569 | 966.8663 | 15374.6735 | 20
21 | 8261.6862 | 83.45% | -8% | 7600.7513 | 6592.306 | 2280.2254 | 4312.0806 | 1008.4453 | 0 | 19.3173 | 22.2892 | 1273.4566 | 17063.1126 | 1841.4647 | 35093.2741 | 219.9161 | 1053.5405 | 14677.6002 | 21 | 1552.349 | -543.9037 | -121.2318 | 1152.2248 | 16526.8983 | 21
22 | 8179.0694 | 82.62% | 13% | 9242.3484 | 6790.0752 | 2772.7045 | 4017.3707 | 2452.2732 | 0 | 19.7037 | 22.735 | 1337.8935 | 18401.0061 | 1859.511 | 36952.7852 | 204.8859 | 1133.0076 | 15810.6078 | 22 | 1446.2534 | 1006.0198 | 0 | 1337.8935 | 17864.7918 | 22
23 | 8097.2787 | 81.79% | 4% | 8421.1698 | 6993.7774 | 2526.3509 | 4467.4265 | 1427.3924 | 0 | 20.0977 | 23.1897 | 1405.5909 | 19806.597 | 1877.7342 | 38830.5194 | 227.8388 | 1177.7522 | 16988.36 | 23 | 1608.2735 | -180.8812 | -41.9458 | 1363.6451 | 19228.4369 | 23
24 | 8016.3059 | 80.97% | 4% | 8336.9581 | 7203.5908 | 2501.0874 | 4702.5033 | 1133.3674 | 0 | 20.4997 | 23.6535 | 1476.7138 | 21283.3108 | 1896.136 | 40726.6554 | 239.8277 | 1236.8861 | 18225.2461 | 24 | 1692.9012 | -559.5338 | -132.3493 | 1344.3645 | 20572.8014 | 24
25 | 7936.1428 | 80.16% | 4% | 8253.5885 | 7419.6985 | 2476.0766 | 4943.6219 | 833.8901 | 0 | 20.9097 | 24.1266 | 1551.4355 | 22834.7463 | 1914.7182 | 42641.3736 | 252.1247 | 1299.3108 | 19524.5569 | 25 | 1779.7039 | -945.8138 | -228.1923 | 1323.2432 | 21896.0446 | 25
26 | 7856.7814 | 79.36% | -11% | 6992.5355 | 7642.2894 | 2097.7606 | 4894.7748 | -649.754 | -159.8985 | 21.3279 | 24.6091 | 1629.9382 | 24464.6845 | 1933.4824 | 44574.856 | 249.6335 | 1220.4061 | 20744.963 | 26 | 1762.1189 | -2411.8729 | -593.54 | 1036.3982 | 22932.4428 | 26
27 | 7778.2136 | 78.57% | 1% | 7855.9957 | 7871.5581 | 2356.7987 | 5499.197 | -15.5624 | -3.9064 | 21.7544 | 25.1013 | 1712.413 | 26177.0975 | 1952.4305 | 46527.2865 | 280.459 | 1428.0476 | 22173.0106 | 27 | 1979.7109 | -1995.2733 | -500.839 | 1211.5741 | 24144.0169 | 27
28 | 7700.4315 | 77.78% | -6% | 7238.4056 | 8107.7049 | 2171.5217 | 5066.8839 | -869.2993 | -222.5693 | 22.1895 | 25.6033 | 1799.0611 | 27976.1586 | 1971.5643 | 48498.8509 | 258.4111 | 1318.0808 | 23491.0914 | 28 | 1824.0782 | -2693.3775 | -689.5934 | 1109.4677 | 25253.4845 | 28
29 | 7623.4271 | 77% | -5% | 7242.2558 | 8350.936 | 2172.6767 | 5069.5791 | -1108.6802 | -289.5359 | 22.6333 | 26.1154 | 1890.0936 | 29866.2523 | 1990.8857 | 50489.7366 | 258.5485 | 1342.0092 | 24833.1006 | 29 | 1825.0485 | -2933.7287 | -766.1539 | 1123.9397 | 26377.4243 | 29
30 | 7547.1929 | 76.23% | -14% | 6490.5859 | 8601.4641 | 1947.1758 | 4543.4101 | -2110.8782 | -562.2888 | 23.086 | 26.6377 | 1985.7324 | 31851.9846 | 2010.3964 | 52500.1329 | 231.7139 | 1191.7297 | 26024.8303 | 30 | 1635.6276 | -3746.5059 | -997.9819 | 987.7505 | 27365.1748 | 30
-1238.1988

## IRR skaičiavimas
INTERNAL RATE OF RETURN investicijai skaičiavimas
| Pinigų srautas | [5 empty] | NB: į pirmus mestus sudedama visa investicija ir pilnų metų pajamos. Skaičiuojant su skolintais pinigais ši lentelė turi būti atitinkamai perskaičiuota
METAI | Teorinis atsipirkimas: kiek sutaupyčiau, jei neturėdamas jėgainės būčiau pirkęs visą savo jėgainės gaminamą elektros kiekį | 0 | Hardcore atsipirkimas: elektros kaina kurią būčiau mokėjęs be elektrinės minus pasaugojimo kaina, minus papildomai pirktos elektros kaina. Pasaugojimas apmokamas centais | 0 | Hardcore atsipirkimas: elektros kaina kurią būčiau mokėjęs be elektrinės minus pasaugojimo kaina, minus papildomai pirktos elektros kaina. Pasaugojimas apmokamas kilovatvalandėmis | 0
1 | -3795 |  | -4811.4007 |  | -4805.5
2 | 1514.7 |  | 468.8481 |  | 498.5097
3 | 1544.994 |  | 500.4383 |  | 523.7343
4 | 1560.1349 |  | 520.7723 |  | 550.2352
5 | 1575.4243 |  | 524.4422 |  | 578.0771
6 | 1590.8634 |  | 519.3939 |  | 607.3279
7 | 1606.4539 |  | 535.097 |  | 638.0586
8 | 1622.1971 |  | 578.2475 |  | 670.3444
9 | 1638.0947 |  | 599.6521 |  | 704.2638
10 | 1654.148 |  | 646.6668 |  | 739.8996
11 | 1670.3586 |  | 689.2995 |  | 777.3385
12 | 1686.7282 |  | 686.2975 |  | 816.6718
13 | 1703.2581 |  | 732.3165 |  | 857.9954
14 | 1719.95 |  | 778.5772 |  | 901.41
15 | 1736.8055 |  | 779.5744 |  | 947.0213
16 | 1753.8262 |  | 835.1847 |  | 994.9406
17 | 1771.0137 |  | 884.7369 |  | 1045.2846
18 | 1788.3697 |  | 942.9179 |  | 1098.176
19 | 1805.8957 |  | 942.5915 |  | 984.0181
20 | 1823.5935 |  | 990.4061 |  | 966.8663
21 | 1841.4647 |  | 1053.5405 |  | 1152.2248
22 | 1859.511 |  | 1133.0076 |  | 1337.8935
23 | 1877.7342 |  | 1177.7522 |  | 1363.6451
24 | 1896.136 |  | 1236.8861 |  | 1344.3645
25 | 1914.7182 |  | 1299.3108 |  | 1323.2432
26 | 1933.4824 |  | 1220.4061 |  | 1036.3982
27 | 1952.4305 |  | 1428.0476 |  | 1211.5741
28 | 1971.5643 |  | 1318.0808 |  | 1109.4677
29 | 1990.8857 |  | 1342.0092 |  | 1123.9397
30 | 2010.3964 |  | 1191.7297 |  | 987.7505
| 41.18% |  | 12.95% |  | 14.21%